## prep_table
sample_num | plate_well | library_name | library_id | requestor | pool | seq_request_id | library_prep_type | rna_ng_per_ul_qubit | dilution | RIN | conc_after_dilution | comment | ul_h2o | ul_rna | input_ng | pcr_cycles | index_well | kit_i7 | kit_i5 | sequence_i7 | name_i7 | sequence_i5 | name_i5 | lib_conc_ng_ul | ba | pooling_factor | ul_pooling
1 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
2 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
3 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
4 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
5 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
6 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
7 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
8 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
9 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
10 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
11 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
12 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
13 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
14 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
15 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
16 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
17 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
18 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
19 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
20 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
21 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
22 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
23 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
24 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
25 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
26 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
27 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
28 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
29 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
30 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
31 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
32 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
33 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
34 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
35 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
36 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
37 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
38 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
39 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
40 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
41 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
42 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
43 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
44 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
45 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
46 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
47 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
48 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
49 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
50 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
51 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
52 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
53 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
54 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
55 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
56 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
57 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
58 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
59 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
60 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
61 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
62 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
63 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
64 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
65 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
66 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
67 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
68 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
69 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
70 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
71 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
72 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
73 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
74 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
75 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
76 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
77 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
78 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
79 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
80 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
81 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
82 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
83 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
84 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
85 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
86 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
87 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
88 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
89 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
90 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
91 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
92 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
93 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
94 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
95 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!
96 | [10 empty] | #DIV/0! |  | 0 | 5 | 0 | [10 empty] | #REF! | #REF!

## Quantseq
Checklist 3’ mRNA-Seq V2 Library Pre Kit (Lexogen) Standard Input, columns
Library prep number: | [13 empty] | FILL ALL OF THE CELLS IN THIS COLOR! IF LEFTOVERS WERE USED WRITE LEFTOVERS. ANSWER ALL FIELDS WITH THE RED BORDER IN ORDER TO HAVE THE RIGHT CHECKLIST.
SOP Version:
QuantSeq 3’ mRNA-Seq V2 FWD Library generation Module (#122.96) LOT#:
Purification Module with magnetic beads (#022.96) LOT#:
Library Amplification Module (#170.96) #LOT: | [9 empty] | Indexplate A: | 1
Lexogen UDI 12 nt Set A1/A2/A3/A4 (#101/102/103/104.96) LOT#: | [8 empty] | Signature:
UMI Second Strand Synthesis Module for QuantSeq FWD (#081.96) LOT#: | [10 empty] | UMIs: | Yes
Library person: | [10 empty] | Standard: | Yes
Library date: | [10 empty] | Low: | No
Comments: | [10 empty] | Ultra Low: | No
Number of samples COLUMS: |  |  |  |  | TRUE | 0 | 0
Number of samples ROWS: |  |  |  | 13 | FALSE | 1 | 1
Preparation of working plate
Prepare an working plate with 1 - 500 ng of total RNA in 5µL in the following sheme:
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
µL RNA: |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| B | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| C | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| D | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| E | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| F | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| G | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| H | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
µL water: |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| B | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| C | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| D | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| E | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| F | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| G | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| H | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
First strand cDNA Synthesis- Reverse transcription
Pipet 11.00 µL of FS1 into first 1 wells and 5.50 µL into the other wells of MM plate row A
| Mix: | 1: RNA; 2: 5; 3: µL
|  | FS1 | 5 | µL
|  |  | 10 | µL | mix, spin
| Incubate: | 2: 85˚/3min; 4: From this point until final PCR never cool samples below RT
|  |  | 42˚/hold | spin, unseal, keep at 42˚
Pipet 22.00 µL of F into first 1 wells and 11.00 µL into the other wells of MM plate row B
|  |  | Volume per reaction | Volume for 13 samples |  |  |  | LOW/ULTRALOW INPUT: |  | Volume per reaction | Volume for 12 samples
|  | FS2 | 9.5 | 135.85 | µL | [7 empty] | µL
|  | E1 | 0.5 | 7.15 | µL | [7 empty] | µL
|  |  | 10 | 143 | µL | mix,spin | [6 empty] | µL
| Incubate while samples are incubating | 4: 42˚/2-3min; 9: 0; 10: 0; 12: µL
then add 10µL (keep at 42˚) of F to each sample, mix, spin, seal
| Incubate: | 2: 42˚/15min
|  |  | 25˚/hold | spin, keep at RT prior to RNA removal
RNA removal
Pipet 11.00 µL of RS into first 1 wells and 5.50 µL into the other wells of MM plate column 3
| Mix: | 1: Sample; 2: 20; 3: µL; 6: Thaw USS at 37°C
|  | RS | 5 | µL
|  |  | 25 | µL | mix, spin
| Incubate: | 2: 95˚/10min
|  |  | 25˚/hold | spin, keep at RT prior to Second Strand
Second strand
Thaw USS at 37°C
Pipet 22.00 µL of USS into first 1 wells and 11.00 µL into the other wells of MM plate row D
|  | Sample | 25 | µL
|  | USS | 10 | µL
|  |  | 35 | µL | mix, spin
| Incubate: | 2: 98˚/1min
ramp down to 25˚
|  |  | 25˚/30min | spin, unseal, keep at RT
Prepare Mastermix (S) according to the following table and pipet 11.00 µL of S into first 1 wells and 5.50 µL into the other wells of MM plate row E
| Mix: | 1: SS2; 2: 4; 3: 135.85; 4: µL; 7: MM at RT
|  | E2 | 1 | 14.3 | µL
|  |  | 5 | 150.15 | µL | mix, spin
| Incubate: | 2: 25˚/15min -> hold at 4°C |  | for qPCR:
| CLEAN-UP with PS! Different cleanup for low input | [13 empty] | Reagent | Volume per reaction [µL] | Volume for n samples +10% excess [µL]
| Add 16µL beads, add 40µL EB, add 56µL PS, elute in 20µL EB, recover 17µL | [13 empty] | PM | 7
| qPCR to determine cycles | [13 empty] | PE | 1
| qPCR samples: | 10: Cycles: |  | P7 | 5
| Endpoint PCR in HALF volume | [13 empty] | P5 | 5
| Prepare Mastermix (P) according to the following table and pipet 8.80 µL of P into first 1 wells and 4.40 µL into the other wells of MM plate column 6 | [13 empty] | 100x Sybr green | 0.03
|  | 3: ALL on cooler |  | EB | 15.27
|  | 1: cDNA; 2: 8.5; 4: µL |  | cDNA | 1.7 | /
|  | 1: PM; 2: 3.5; 3: 50.05; 4: µL |  | Total | 33.3
|  | PE | 0.5 | 7.15 | µL
|  | INDEX | 5 |  | µL
|  |  | 17.5 | 57.2 | µL
| Indicate which Indexes you used: | 5: Plate:
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| B | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| C | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| D | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| E | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| F | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| G | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| H | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
| Run the following programm: | 4: 95˚/60s
[5 empty] | 95˚/15s | ___cycles
60˚/15s
72˚/60s
72˚/6min
10˚/hold
CLEAN-UP with PS! Different cleanup for low input.
Add 17.5 µL beads, add 15 µL EB, add15 0µL PS, elute in 15 µL EB, recover 13 µL
QC (Qubit, BA, pooling)
Pooling overview in µL
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
B
C
D
E
F
G
H
Pool concentration: | bar: 3
Put the Kitnumbers into the working sheet and followingly into the sample annotation sheet: If you didn’t use UMIs only one number is needed!
|  | Library type for LIMS: |  |  |  | Quantseq_FWD_v2
|  | Library type for LIMS with UMI: |  |  |  | Quantseq_FWD_v2_UMI
|  | Library kit | [7 empty] | Kitnumber
|  | QuantSeq 3‘ mRNA-Seq V2 Library Prep Kit FWD with UDI 12 nt Set A1 | [7 empty] | #191.96
|  | QuantSeq 3‘ mRNA-Seq V2 Library Prep Kit FWD with UDI 12 nt Set A2 | [7 empty] | #194.96
|  | QuantSeq 3‘ mRNA-Seq V2 Library Prep Kit FWD with UDI 12 nt Set A3 | [7 empty] | #195.96
|  | QuantSeq 3‘ mRNA-Seq V2 Library Prep Kit FWD with UDI 12 nt Set A4 | [7 empty] | #196.96
|  | UMI Second Strand Synthesis Module for QuantSeq FWD (Illumina, Read 1) | [7 empty] | #081.96
|  | Identification number: |  |  | BSF_LP_CH_000005
|  | Unit: |  |  | BSF
|  | Organization: |  |  | CeMM
|  | Title: |  |  | Checklist 3’ mRNA-Seq V2 Library Pre Kit (Lexogen) Standard Input Columns
|  | Author: |  |  | Hannah Riegler
|  | Reviewer: |  |  | Carina Suete
|  | Review date: |  |  | 22.07.2024
|  | Version: |  |  | 20240716